Friedrich Haug, 15.3.04

nTOF preliminary equipment proposal

Equipment to be cooled

1) Pulsed magnet

Proximity equipment

1) DVB valve box			-feed valve with level control

-by-pass valve of TFL before recooling

-drain valve

-pumping line valve

-valve for nitrogen gas out

-temp sensors

-flow meter

2) vacuum pump for insulation vacuum of magnet

3) vacuum pump for reducing pressure in bath

4) heat exchanger or el. heater

Intermediate Infra

1) transfer line for cooling and filling

2) exhaust for cold nitrogen gas during cooling and filling

3) pump line (warm)

External Infra

1) LN2 reservoir next to vertical shaft

Process control and instrumentation

1) UNICOS (Schneider) ?, 		ABB ?,  		LabView ?

- control from distance

- proposed is ISR building 230 or 288 from which

2) Instrumentation in conformity with CERN standards

Safety

general

contacts

1) cryogenic safety		TIS

2) radiation safety		TIS

3) access

Operation

1) cryogenics “team”