nTOF							F. Haug 17.3.04

Liquid Nitrogen Supply

Mobile Dewars ?

Disadvantages :

-Access through ISR buildings long.

-Handling of mobile dewars difficult on slope to nTOF

-Personel requirements, connections manually

-Risks of accidents (personel, impurities, mechanics)

-TIS would have difficulties to accept procedure

-Additional costs during operation for personel, transport of LN2….

Advantages:

- cheaper installation solution

“Permanent” Installation

with

-External storage of LN2

-Transfer Line Supply

Advantages:

-Large quantities of LN2 (no operation interruption)

-no personel access required during recovery from “shots” (in case system fully automized what is proposed!)

-Fast recovery possible

-System can be fully automized

Disadvantage:

-Somewhat larger installation costs with respect to mobile dewars